	AFTER CARE:

To maintain the appearance of this tap, ensure that it is regularly cleaned only using a clean, soft damp cloth. A solution of warm water and a mild liquid detergent may be used where necessary, and then the fitting rinsed thoroughly and wiped dry. Abrasive cleaners, scouring cleaners and acid cleaners must not be used under any circumstances. All bath cleaning powders and liquids will damage the surface of your fitting even the non-scratch cleaners. 

Avoid contact with all solvents and any harsh household chemicals. You will damage the plated finish and void your guarantee.

GUARANTEE AND LIABILITY
In the unlikely event that you should experience any defect in the material or workmanship of your mixer tap within 2 years of purchase, we will replace the faulty part free of charge.

Decorative surface finishes and valves are guaranteed for one year from the date of purchase provided that our advise concerning care has been observed and no scouring agents have been used. This is provided that the mixer or tap has been used for normal domestic purposes in the UK and that the care, installation and maintenance instructions have been observed.

Scuff and scratches caused by normal wear and tear, improper installation or accidental damage are excluded from this guarantee.

You should retain a copy of your dated invoice as proof of purchase to validate any claims under this guarantee.

No other warranties, express or implied, are made, including merchantability or fitness for a particular purpose.

SPARE PARTS AND SERVICE

Contact                                                   STERLING 

Phone                                                01684 299555

Fax                                                     01684 290958
e-mail                                   sales@sterling.eu.com      

web-site                                   www.sterling.eu.com
	
	[image: image1.png]clearwater




CRETA PULL-OUT


[image: image2.png]18l

8l

197

€51





Fitting Instructions

& Contents List
Please keep these instructions for future reference and request of replacement parts.


	[image: image3.png]{o : =V} sPassa

SP3878
#0110

SP4084

&> _| sP4011

SP4006

SP3961





	CODE

DESCRIPTION

SP3878#011+color
Handle
SP4884+color

Dome
SP4011
Bush
SP3961
Antisplash

SP4006+color

Spray head

SP1229

Cartridge

SP4014

O.Ring kit 
SP4005+color

Plinth

SP3946
Weight

SP4070
Flexi tails

SP4084

Flexible L1500 

SP4009
Copper Tube
SP4007+SP3618
Fixing kit + triangular plate



	In the unlikely event you find a part missing please contact our Customer Service Help line on 01684 299555  for immediate dispatch of part.



Maintenance:

If the fitting begins to drip:
1) Turn off the water supply

2) Loosen grub screw under handle lever, remove handle and valve

3) Carefully clean seating, rubber washer and ceramic disc.

4) Replace valve and handle, then turn on the water supply.

5) If problem persist contact our help line quoting the product code.

Where an aerator is fitted to the outlet of the spout, it will need occasional cleaning. This will be evident when the water flow slows down to an unacceptable level. To accomplish this unscrew the outlet in an anti-clockwise direction and remove the mesh. Immerse the mesh in a suitable descaling fluid overnight, rinse thoroughly in clean water and re-install.


	
	Remember:

Maximum water supply  pressure:                           75 PSI (5 bar)

Maximum hot-water supply temperature:                70  °C

Recommended hot-water supply temperature:        65 °C

If these temperatures or water pressure are exceeded damage to the tap can result. A pressure reducing valve may be required to be fitted in high water pressure situations.
Please read these instructions before you install and use the tap. All
designs, descriptions and dimensions are subject to change without notice.


Preparation

Flush the plumbing system before installing the mixer tap. This is to avoid plumbing residues clogging the mesh of the aerated outlet, or possibly damaging the valve’s washers. This is especially important where extensive plumbing work has been carried out.
First shut off your water heating system then, with your mains stop cock closed, open the lowest hot and cold taps in the house and allow to run until the cold storage tank and pipes are empty. (The hot water storage cylinder always remains full).

Installation

· First screw the threaded studs into the mixer body. Screw the copper tail pipe into the mixer body. Screw the flexi tails into the mixer body. Fully hand tighten.


· Pass the rubber washer over the copper tail, flexi tails and threaded studs to form a seal on sink top with the tap plinth. 


· Pass the copper tail, flexi tails and fixing studs through the sink top from above, and place the mixer in position on the sink with the cold (normally) on the right hand side.


· Slide the retaining plate up the copper tail, flexi tails and fixing studs (ensuring that the raised side is positioned downwards with the washer in place) and to secure, screw the fixing nuts finger tight. The washer will then fit between the plate and the sink. Check that the mixer body is correctly positioned and fully tighten fixing nuts.


· Hot water should be connected to the left when viewed from the front.

· Having first checked all new connections, turn on the mains stop cock, close all taps except the new mixer and as the system starts to refill check for leaks.


